#### AMPREN3X08 Monitor boiler operations

#### Application

This unit describes the skills and knowledge required for workers to monitor boiler operations.

This unit applies to individuals who work under broad direction and take responsibility for their own work including limited responsibility for the work of others. They provide and communicate solutions to a range of predictable problems.

Work is performed in compliance with workplace procedures, customer requirements and product specifications.

This unit must be delivered and assessed in the context of Australian meat processing standards and regulations.

##### Licensing, legislative, regulatory requirements

No licensing, legislative or certification requirements apply to this unit at the time of publication.

#### Pre-requisite unit

Nil

#### Unit sector

Rendering (REN)

| Elements Elements describe the essential outcomes. | Performance criteria Performance criteria describe the performance needed to demonstrate achievement of the element. |
| --- | --- |
| 1. Set up equipment | 1.1 Check equipment prior to operation according to work instructions 1.2 Ensure cleanliness of equipment according to workplace requirements 1.3 Confirm work instructions and Standard Operating Procedures with relevant personnel and clarify requirements as needed |
| 2. Operate equipment | 2.1 Load and program equipment according to work instructions 2.2 Operate equipment according to manufacturer's specifications, workplace requirements, and regulatory requirements 2.3 Identify and comply with workplace health and safety requirements |
| 3. Monitor and respond to production issues | 3.1 Monitor boiler operation and product output to identify production problems and out-of-specification product 3.2 Rectify production problems and out-of-specification product within level of authority, or report them according to workplace procedures. 3.3 Communicate operational information, problems and corrective actions to relevant personnel according to workplace procedures. |

#### Foundation skills
(optional)

Foundation Skills essential to performance are explicit in the performance criteria of this unit of competency.

| Learning | Reading | Writing | Oral communication | Numeracy |
| --- | --- | --- | --- | --- |
| 2 | 2 | 2 | 2 | 2 |

### Assessment Requirements

#### Performance evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has set up, operated and monitored boiler equipment on at least two occasions according to work instructions, workplace procedures, manufacturer specifications and regulatory requirements, including identifying and responding to production problems and out-of-specification product, and communicating operational information and corrective actions to relevant personnel.

#### Knowledge evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

- operation of boiler according to workplace requirements

- effect on product and health and safety of incorrectly operating boiler

- workplace health and safety requirements in operating boiler

- relevant regulatory requirements

#### Assessment conditions

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

##### Mandatory workplace requirements:

Mandatory workplace requirements apply to this unit of competency.

Performance must be demonstrated in a registered, operating meat processing premises under normal production conditions.

Assessment must ensure access to:

- boiler and associated equipment as required by performance evidence

- PPE applicable to job requirements

- tools and equipment applicable to job requirements

- organisational policies and procedures relevant to equipment checking, cleaning, boiler operation, production monitoring, corrective action, reporting, communication and workplace health and safety

- work orders, or specifications used in the workplace

- a workplace supervisor.

#### Unit mapping information

| Code and title current version | Code and title previous version | Equivalence status | Comments |
| --- | --- | --- | --- |
| AMPREN3X08 Monitor boiler operations | AMPA3086 Monitor boiler operations | Equivalent | Updated to meet 2025 Training Package Organising Framework standards. Performance and knowledge evidence requirements consistent with previous version |

### Overview information

#### Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This unit of competency was first released in AMP Australian Meat Processing Training Package Release 10.0. |