#### AMPREN3X09 Operate biogas facilities

#### Application

This unit describes the skills and knowledge required for workers to operate biogas facilities, including monitoring processes and identifying faults or unusual activity within the system.

The unit applies to individuals with responsibility for the day-to-day operation of a biogas facility. Those undertaking this unit would work under supervision, while performing routine tasks within a range of familiar contexts.

Work is performed in compliance with workplace procedures, customer requirements and product specifications.

This unit must be delivered and assessed in the context of Australian meat processing standards and regulations.

##### Licensing, legislative, regulatory requirements

No licensing, legislative or certification requirements apply to this unit at the time of publication.

#### Pre-requisite unit

Nil

#### Unit sector

Rendering (REN)

| Elements Elements describe the essential outcomes. | Performance criteria Performance criteria describe the performance needed to demonstrate achievement of the element. |
| --- | --- |
| 1. Inspect biogas facilities | 1.1 Inspect biogas facilities each shift and record and monitor results 1.2 Collect process samples and conduct standard tests 1.3 Identify, record and report any faults in the biogas system 1.4 Follow work health and safety (WHS) requirements and work instructions |
| 2. Complete documentation | 2.1 Collect, interpret and record process data according to workplace requirements 2.2. Log any unusual aspects identified in the biogas system |
| 3. Operate safely when working in biogas facilities | 3.1 Select and check equipment and tools required to meet safety requirements of site and task 3.2 Select, fit and use personal protective equipment 3.3 Follow safe operating procedures to protect biogas system infrastructure 3.4 Follow safe operating practices when working on and near covered anaerobic lagoon (CAL) covers including biogas transmission lines and storage 3.5 Follow and implements the site's Safety Management Plan |

#### Foundation skills

| Learning | Reading | Writing | Oral communication | Numeracy |
| --- | --- | --- | --- | --- |
| 2 | 2 | 2 | 2 | 2 |

### Assessment Requirements

#### Performance evidence

An individual demonstrating competency must satisfy all of the elements and performance criteria in this unit.

There must be evidence that the individual has inspected and worked safely in a biogas facility and completed the required monitoring and documentation on at least one occasion.

#### Knowledge evidence

An individual must be able to demonstrate the knowledge required to perform the tasks outlined in the elements and performance criteria of this unit. This includes knowledge of:

- features and components of a biogas system

- flow rates and measurements

- risk factors and potential hazards related to working in a biogas facility

- potential operational problems

- data analysis.

#### Assessment conditions

Assessors of this unit must satisfy the requirements for assessors in applicable vocational education and training legislation, frameworks and/or standards.

##### Mandatory workplace requirements:

Mandatory workplace requirements apply to this unit of competency.

Performance must be demonstrated in an operating biogas facility under normal production conditions.

Assessment must ensure access to:

- biogas facilities, process samples and testing materials as required by performance evidence

- PPE applicable to job requirements

- tools and equipment applicable to job requirements

- organisational policies and procedures relevant to biogas facility inspection, process sampling and testing, data recording, fault reporting, safe operating procedures and the site Safety Management Plan

- workplace documents such as work instructions, standard operating procedures and safety data sheets used in the workplace

- manufacturer’s operating instructions for specific equipment and machinery used in the workplace

- workplace team members

- a workplace supervisor.

##### Unit mapping information

| Code and title current version | Code and title previous version | Equivalence status | Comments |
| --- | --- | --- | --- |
| AMPREN3X09 Operate biogas facilities | AMPA3137 Operate biogas facilities | Equivalent | Updated to meet 2025 Training Package Organising Framework standards. Performance and knowledge evidence requirements consistent with previous version |

### Overview information

#### Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This unit of competency was first released in AMP Australian Meat Processing Training Package Release 10.0. |